## TAPP
Metadata Item | Description / Purpose | Basic/Advanced | Data Type | Example/Allowed Content | Last update: | CDIF-geochem schema path | matchComment | implementation notes
1. Method Identification
Method Name | A short descriptive name for this analytical method. Should include instrument, technique, analyte, and measured chemical variable | Basic | Text (free) | e.g., 'EPMA-WDS Major Element Glass' |  | $MethodDefinition.schema:name | match. methodDefinition.schema:name is the short descriptive name for the method.
Technique | Top-level analytical technique identifier. | Basic | Controlled list | EPMA-WDS ¦ EPMA-EDS ¦ EPMA-WDS+EDS ¦ Others: specify |  | $MethodDefinition.schema:measurementTechnique.schema:DefinedTerm.schema:name | match. methodDefinition.schema:measurementTechnique is a DefinedTerm; use .schema:termCode for the controlled-list code (EPMA-WDS etc.). | schema:DefinedTerm.schema:termCode datatype: enum {EPMA-WDS ¦ EPMA-EDS ¦ EPMA-WDS+EDS ¦ other}
Method Author | Author of the method | Basic | Text (free) | Can be human names or lab names |  | $MethodDefinition.schema:creator.schema:Person ¦ schema.Organization.schema:name | match. schema:creator is a Person or Organization; schema:name carries the author name (plus schema:identifier for ORCID).
Laboratory | Name of the lab or institution hosting the instrument. | Basic | Text (free) | "Columbia University" |  | $MethodDefinition.schema:location.scheme:Place.schema:name | match. ada:laboratory extends spatialExtent (schema:Place); schema:name is the lab/facility name.
Laboratory ID | Persistent identifier for the laboratory, e.g., ROR ID. | Advanced | URI | ROR ID or equivalent URI |  | $MethodDefinition.schema:location.scheme:Place.schema:identifier | match. schema:Place schema:identifier (ROR or other PID) on ada:laboratory.
Method Start Date | First date this method configuration was used in production. | Basic | Date | 2026-03-01 |  | $MethodDefinition.schema:datePublished | match. methodDefinition.schema:datePublished is explicitly described as 'ISO 8601 date when this method configuration was first used'.
Funding Source | Grants and funding that supported the method development. | Advanced | Text (free) | include grant IDs, e.g., 'NSF EAR-1234567'. Can also report "None" |  | $MethodDefinition.schema:funding[].schema:MonetaryGrant.schema:name | match. schema:funding[] is an array of MonetaryGrant; also has schema:identifier (award number) and schema:funder (organisation). | put text in MonetaryGrant name unless can clearly parse identifier distinct from name.
Method Reference(s) | DOI or URL for publications or reports describing or evaluating this method. | Advanced | URI / DOI | DOI or URL list |  | $MethodDefinition.schema:relatedLink[].schema:url | match. schema:relatedLink[] is a labeledLink with schema:url and schema:name; fits DOIs/URLs of method publications.
2. Samples
Target Material | General description of the material(s) analysed (mineral phase, glass, metal, oxide). | Basic | Controlled list / Text | e.g., Silicate glass ¦ Feldspar ¦ Pyroxene ¦ Olivine ¦ Oxide ¦ Sulfide ¦ Metal alloy ¦ Other |  | $MethodDefinition.schema:object[].schema:DefinedTerm.schema.name | match. schema:object[] is an array of DefinedTerm or string describing target material (mineral phase, glass, oxide, etc.).
Sample Preparation Method | Description of how samples were prepared for analysis (polishing, mounting, etc.). | Advanced | Text (free) | e.g., 'Polished thin section, carbon-coated' ¦ '25 mm epoxy mount, polished to 0.25 µm diamond, 20 nm C coat' |  | $MethodDefinition.schema:actionProcess.schema:step[].schema:description | Sample preparation is a dedicated step (typically schema:position=1) in the actionProcess; schema:object is input, mostly likely the original sample. Schema:result is the product that will be used directly for analysis, e.g. polished thin section or epoxy mount; describe procedure in schema:step/schema:description | schema:description readOnly: true
3. Instrument & Software
Instrument Manufacturer | Make of the EPMA instrument. | Basic | Controlled list | JEOL ¦ Cameca ¦ Other: Specify ¦ Unknown |  | $MethodDefinition.schema:instrument.schema:manufacturer.schema:Organization.schema:name | match. CDIF instrument inherits schema.org Product's schema:manufacturer.
Instrument Model | Model of the EPMA instrument. | Basic | Controlled list | JXA-8530F Plus ¦ JXA-8230 ¦ SX100 ¦ SXFiveTactis ¦ SXFive ¦ iHP200F ¦ Other ¦ Unknown |  | $MethodDefinition.schema:instrument.schema:model.schema:name | match. CDIF instrument inherits schema.org Product's schema:model.
Electron Source | Type of electron gun used in the EPMA instrument. | Basic | Controlled list | Field Emission (FEG) ¦ LaB6/CeB6 ¦ Tungsten (W) ¦ Other ¦ Unknown |  | $MethodDefinition.schema:instrument.schema:hasPart[].additionalType = 'ElectronSource' | match. Electron source/gun modelled as a sub-component of the instrument via schema:hasPart[]; classify the part via schema:additionalType (e.g. 'ElectronGun:FEG') and carry the label in schema:name.
Analytical Software | Data acquisition and automation software with version number. | Basic | Text (free) | e.g., 'Probe for EPMA v12.9.5' ¦ 'JEOL PC-EPMA' ¦ 'Cameca PeakSight 6.2' |  | $MethodDefinition.bios:computationalTool[] | match. bios:computationalTool[] with ada:toolRole='acquisition' captures the acquisition/automation software; schema:name, schema:version, and schema:url are siblings. | toolRole = acquisition
Data Reduction Software | Software used for matrix correction and data reduction, if separate from acquisition software. | Basic | Text / Controlled list | Probe for EPMA ¦ JEOL PC-EPMA ¦ Cameca PeakSight ¦ CalcZAF ¦ Other |  | $MethodDefinition.bios:computationalTool[] | match. Same container as row 20 with ada:toolRole='reduction' for matrix-correction/data-reduction software. | toolRole = data reduction
WDS Spectrometer Configuration | Number, type, and arrangement of WDS spectrometers; for third-party WDS on SEM, include manufacturer and model. | Advanced | Text (free) | e.g., '5 Rowland-circle spectrometers, JEOL WDS on JEOL EPMA' |  | $MethodDefinition.schema:instrument.schema:hasPart[].additionalType = 'wdsSpectrometer' | Match as sub-components. Each WDS spectrometer is a hasPart entry (schema:name, schema:additionalType for crystal type, schema:description for arrangement). | schema:additional type = 'WDS spectrometer'
EDS Detector Configuration | EDS detector type, manufacturer, window type, pulse-processor setting, and detector position. | Advanced | Text (free) | e.g., 'Oxford Ultim Max 100, SDD, polymer window, 100 mm², 35 mm at 35°' |  | $MethodDefinition.schema:instrument.schema:hasPart[].additionalType = 'edsDetector' | Match as sub-component. EDS detector as a hasPart with schema:manufacturer, schema:model, and schema:description capturing window type, pulse-processor, detector area. | schema:additional type = 'EDS detector'
4. Measurement Information
Default Accelerating Voltage | Electron beam accelerating voltage in kilovolts (kV). | Basic | Numeric (kV) | e.g., 15 ¦ 20 ¦ 7.5 |  | $MethodDefinition.ada:acceleratingVoltageDefault | MethodParameter (ada:fieldScope='method') , ada:dataType='number', schema:unitText='kV' | property: acceleratingVoltageDefault datatype: schema:PropertyValue readonly: True parameter: acceleratingVoltage dataType: schema:PropertyValue readOnly: False
5. Data Processing
Matrix Correction Method | X-ray matrix correction algorithm applied during data reduction. | Basic | Controlled list | PAP (Pouchou & Pichoir Full) ¦ XPP (Simplified PAP) ¦ PhiRhoZ Bastin (EPQ-91) ¦ Love-Scott I ¦ Love-Scott II ¦ Armstrong/Love-Scott ¦ Heinrich/Duncumb-Reed ¦ Conventional Philibert/Duncumb-Reed ¦ Other ¦ Unknown |  | $.ada:matrixCorrectionMethod | Direct match. Method-level parameter with ada:category='Data Processing', ada:enumeration=['ZAF','PhiRhoZ','PAP', ...] or schema:inDefinedTermSet pointing at a SKOS scheme. | property: matrixCorrectionMethod datatype: enum {PAP (Pouchou & Pichoir Full) ¦ XPP (Simplified PAP) ¦ PhiRhoZ Bastin (EPQ-91) ¦ Love-Scott I ¦ Love-Scott II ¦ Armstrong/Love-Scott ¦ Heinrich/Duncumb-Reed ¦ Conventional Philibert/Duncumb-Reed ¦ Other ¦ Unknown} readOnly: true
6. Quality Control & Uncertainty
Typical Detection Limit | Method detection limit at 99% confidence (3σ) for each measured element. | Advanced | Numeric (wt% or ppm) | e.g., 0.01 wt% ¦ 100 ppm; per element | Analyte specific | $.ada:analyteTemplate.ada:analyteColumns[] | CDIF dataset mapping: dqv:QualityMeasurement with dqv:isMeasurementOf='detection limit' and dqv:value. | analyteColumn : typicalDetectionLimit datatype: text readOnly:true
Additional Notes | Any additional context about this method not captured by structured fields. | Advanced | Text (free) |  |  | $.schema:description | method Property: schema:description accepts free-text narrative; additional notes can extend it or be distributed to the most relevant workflow step's schema:description. | method property : description datatype: text readOnly:true