## TAPP
Metadata Item | Description | Procedure-Level Tier | Analysis-Level Tier | Data Type | Example / Allowed Content | Comments | Last Update | Keyed By | Purpose | Literature Assessment | ADA n=365 ¦ Maizey, Beau ¦ University of Arizona ¦ Hitachi HF5000 (25 instrumentMetadata exports) | ADA n=694 ¦ no named analyst ¦ Lawrence Berkeley National Laboratory ¦ FEI TitanX TEM (78 instrumentMetadata exports, dimensions only)
1. Procedure Identification | [9 empty] | N | N | N
Procedure Name | A short descriptive name for this analytical procedure, including a version number. Should identify the instrument, the technique, and the scope of what is measured — analyte, material, or feature. | Basic | Read-Only | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Technique | Top-level analytical technique identifier. | Basic | Read-Only | Controlled list | Scanning Transmission Electron Microscopy | Source: Core module | 2026-09-06 | (none) |  |  | Scanning Transmission Electron Microscopy | Scanning Transmission Electron Microscopy
Procedure Author | Person(s) or laboratory responsible for developing and registering this procedure. ORCID recommended for individuals. | Basic | Read-Only | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | Claude assisted | Claude assisted
Laboratory | Name of the laboratory or institution hosting the instrument. | Basic | Editable | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | University of Arizona | Lawrence Berkeley National Laboratory
Laboratory ID | Persistent identifier for the laboratory (e.g., ROR ID). | Advanced | Editable | URI / DOI |  | Source: Core module | 2026-09-06 | (none) |  |  | https://ror.org/03m2x1q45 | https://ror.org/02jbv0t02
Procedure Start Date | First date this procedure configuration was used in production. | Basic | Read-Only | Date |  | Source: Core module | 2026-09-06 | (none) |  |  | 2024-05-16 | 2023-12-07
Funding Source for Procedure Development | Grants and other funding sources that supported instrument acquisition, major upgrades, procedure development, and associated personnel time. Include grant numbers and funding agencies where applicable. | Advanced | Read-Only | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Procedure Reference(s) | DOI or URL for peer-reviewed publications or technical reports describing, validating, or benchmarking this procedure. | Advanced | Read-Only | URI / DOI |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Procedure DOI | DOI or unique persistent identifier for the registered procedure used in this analysis, generated upon procedure submission to a data repository. If a DOI has been applied for but not yet minted, enter "pending". | N/A | Basic | URI / DOI |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Session Identifier | Identifier for the analytical session this record describes — the laboratory's own run, sequence or batch identifier as generated by the instrument or acquisition software. Distinct from any persistent identifier a repository mints on submission. | N/A | Basic | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Analyst | Name(s) of the analyst(s) who performed the analysis session. ORCID is recommended for persistent identification. | N/A | Basic | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | Maizey; Beau | N
Analysis Start Date | Date on which the analytical session began. For sessions spanning multiple days, use the date of the first session. Format: YYYY-MM-DD. | N/A | Basic | Date |  | Source: Core module | 2026-09-06 | (none) |  |  | 2024-05-16 | 2023-12-07
Analysis End Date | Date on which the analytical session ended. May equal Analysis Start Date for single-day sessions. Format: YYYY-MM-DD. | N/A | Basic | Date |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Funding Source for Analysis | Grants and other funding sources that supported the specific sample analyses and data collection reported here. Include grant numbers and funding agencies. Distinct from procedure development funding, which may have been awarded years earlier. | N/A | Basic | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Coupled Technique(s) | Other analytical techniques applied to the same sample(s) whose results are intended to be interpreted together with data from this procedure. Document coupling with any technique whose results are functionally linked to this dataset — providing calibration inputs, complementary spatial context, or required companion measurements. Name the instrument, laboratory or purpose alongside each technique where known, and join multiple techniques with '; '. Enter "None" if no coupling is intended. | Advanced | Editable | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Coupling Description | Description of how this procedure is coupled with the technique(s) listed above. Include: (1) the functional relationship — what data or context flows between techniques, or how results are combined (e.g. which output from the coupled technique serves as input to data reduction for this technique); and (2) the analytical sequence — which technique is performed first and why (e.g. non-destructive before destructive). Required when Coupled Technique(s) is not "None". | Advanced | Editable | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Coupled Procedure DOI | Registered procedure DOI for the coupled technique named above. If the coupled procedure has not yet been registered, enter the DOI of a publication describing the coupled method, or "pending". Enter "None" if no coupling is planned. | N/A | Advanced | URI / DOI |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Coupled Dataset or Publication Reference | DOI or other persistent identifier for the co-registered dataset or publication where both datasets are reported together. Accepts: a dedicated dataset DOI (if separately deposited), a shared dataset DOI (if co-submitted in the same package), or a publication DOI. Use "same submission" if the coupled dataset is included in this data package, or "pending" if not yet assigned. If coupling is documented through a shared sample identifier only, that information is already captured in Sample Persistent Identifier (Group 2). | N/A | Advanced | URI / DOI / Text |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
[11 empty] | N | N
2. Samples | [9 empty] | N | N | N
Sample Name | Name or identifier of each sample analysed in this session, as used in the laboratory — a sample mount, section or aliquot counts as one entry where that is what the laboratory tracks. Should match the identifier used in associated publications or data tables. | N/A | Basic | Text (free) | e.g., 'OREX-803119-102' ¦ 'Murchison chip 4b' | Source: Core module | 2026-09-06 | defines: sample | The analysis record corresponds to one session and may cover several samples. |  | N | N
Sample Persistent Identifier | Globally unique, persistent identifier for each sample listed in Sample Name. IGSN (International Geo Sample Number) is the recommended standard for geological and cosmochemical samples, as used by Astromat, EarthChem and SESAR. Where a sample and its sub-samples are separately registered, record the identifier at the level actually analysed. | N/A | Advanced | URI / IGSN | e.g., 'IGSN:BNN0001AB' | Source: Core module | 2026-09-15 | sample |  |  | N | N
Target Material | General description of the material type(s) this procedure is designed to analyse. | Basic | Read-Only | Controlled list / Text | Silicate mineral ¦ Silicate glass ¦ Oxide ¦ Sulfide ¦ Carbonate ¦ Phosphate ¦ Metal or alloy ¦ Organic matter ¦ Bulk regolith or soil ¦ Meteorite (bulk) ¦ Ice or hydrate ¦ Synthetic analogue ¦ N/A ¦ None | Source: Core module | 2026-09-06 | (none) | Used for discoverability and procedure matching, and because the material type constrains sample preparation, calibration and matrix-matching requirements. |  | N | N
Sampling Unit Type | The kind of physical subdivision of the sample to which one row of reported values corresponds — the unit that is analysed and reported, as distinct from the sample as a whole. Where units nest (e.g. confined tracks within grains), state both levels. The units themselves are listed in Sampling Unit Name. | Basic | Read-Only | Controlled list / Text | Whole sample ¦ Aliquot ¦ Grain ¦ Spot ¦ Analysis point ¦ Phase ¦ Sub-volume ¦ Region of interest ¦ N/A ¦ None | Source: Core module | 2026-09-15 | (none) |  |  | N | N
Sampling Unit Name | The name or label of each sampling unit analysed in this session, as the laboratory records it, together with the sample it belongs to — e.g. a spot number, a grain label, a map or region-of-interest name, or an aliquot identifier. Where units are too numerous to name individually, such as map pixels or reconstructed voxels, name the acquisition area they belong to instead. | N/A | Basic | Text (free) |  | Source: Core module | 2026-09-15 | defines: sample > sampling unit | Gives every field keyed by sampling unit a row to attach its values to, and ties each unit to the sample it belongs to; without it those fields collapse to one value per session. |  | N | N
Sample Preparation Method | The form in which the sample is presented to the instrument, and the preparation that brought it to that form — for example mounting, sectioning, polishing, coating, crushing, fusion, or extraction of an electron-transparent section. Record 'None' where the material is analysed as received. | Basic | Editable | Controlled list / Text | Polished section ¦ Thin section (unmounted) ¦ Loose particulate on substrate ¦ As-received fragment ¦ Pressed pellet ¦ N/A ¦ None | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Sampling Unit Selection Criteria | The rules governing which sampling unit(s) within a sample are selected for analysis, and why. Covers the criteria applied when choosing grains, aliquots, spots, or a region of interest — size, morphology, clarity, freedom from inclusions or alteration, phase identity, or spatial position. Distinct from Target Material, which states the material type the procedure is designed for, and from Sampling Unit, which names the kind of subdivision one row of reported values corresponds to: this field states how, within such a sample, the unit actually analysed is picked out. | Basic | Editable | Text (free) |  | Source: Sampling Unit Selection module | 2026-09-06 | (none) |  |  | N | N
Pre-Analysis Imaging and Screening | Imaging or other characterisation performed before the measurement in order to select or locate the sampling unit to be analysed, including the technique, instrument and settings used, and how individual analyses are linked back to the images. Distinct from any imaging the procedure performs as its own measurement. Where the imaging is performed on a separate instrument, it should also be recorded in the Group 1 coupling fields. | Advanced | Editable | Text (free) |  | Source: Sampling Unit Selection module | 2026-09-06 | sample |  |  | N | N
[11 empty] | N | N
3. Instrument & Software | [9 empty] | N | N | N
Instrument Manufacturer | Manufacturer of the instrument that performs the measurement, recorded as a controlled value. Where a procedure couples a sample-introduction system to an analysing instrument, this records the analysing instrument. Instrument Model gives the specific designation. | Basic | Read-Only | Controlled list | WITec ¦ Renishaw ¦ HORIBA ¦ Bruker ¦ Thermo Fisher Scientific ¦ Custom-built ¦ Unknown ¦ N/A ¦ None | Source: Core module | 2026-09-06 | (none) |  |  | Hitachi | FEI
Instrument Model | Model designation of the instrument that performs the measurement, including any generation or configuration suffix. Conventionally written with the manufacturer name included; Instrument Manufacturer records the vendor separately, as a controlled value, so that procedures remain findable by vendor. | Basic | Read-Only | Text (free) | e.g., 'alpha 300 R' | Source: Core module | 2026-09-06 | (none) |  |  | HF5000 | TitanX TEM
Acquisition Software | Instrument control, automation and data acquisition software used to collect the raw data, including version number. Distinct from Data Processing Software(s), which covers everything applied to the data after acquisition. | Basic | Editable | Text (free) | e.g., 'WITec Control FIVE 5.3' | Source: Core module | 2026-09-06 | (none) |  |  | N | N
Data Processing Software(s) | All software applied to the data after acquisition in order to produce the reported quantities, including version numbers. List every package used. Distinct from Acquisition Software, which controls the instrument and collects the raw data. | Basic | Editable | Text (free) | e.g., 'WITec Project FIVE 5.3' | Source: Core module | 2026-09-06 | (none) |  |  | N | N
[11 empty] | N | N
4. Measurement Information | [9 empty] | N | N | N
Analytical Mode | Primary analytical mode(s) executed under this procedure. Records one value for a single-mode procedure and all applicable modes for a multi-mode one. Applies even where a procedure defines no mode flag columns. | Basic | Read-Only | Controlled list | Point spectrum | Source: Core module | 2026-09-06 | (none) | Serves as the procedure-level declaration of measurement type, distinct from the mode flag columns, which state per-field applicability. |  | STEM | STEM
Reported Variables and Units | The final variable(s) this procedure reports and their units — distinct from the fields recording what was *acquired* rather than what is reported. Record every reported variable, including intermediate quantities reported alongside final ones (e.g. both the 206Pb/238U ratio and the 206Pb/238U date). Where a reported variable is a nominal property with no magnitude (e.g. a mineral identification), record the variable and give the unit as 'N/A — nominal property'. | Basic | Read-Only | Text (free) |  | Source: Core module | 2026-09-06 | defines: reported property |  |  | N | N
[11 empty] | N | N
5. Data Processing | [9 empty] | N | N | N
Calibration Factor and Determination Method | An externally-calibrated factor that converts the measured quantity into the reported quantity, how it was determined, and its uncertainty. Applies where the conversion depends on a factor calibrated against a reference of independently known value, rather than on the instrument response alone. Distinct from the fields that name the calibration material and that state which approach applies to which analyte, where the technique has them: this field records the resulting factor itself. | Basic | Editable | Text (free) |  | Source: Calibration Factor module | 2026-09-06 | reported property |  |  | N | N
Constants and Reference Values Used | Physical constants and reference values used in data reduction to calculate the final reported quantity (e.g., decay constants for age calculation, standard isotope ratios, or other citable reference values used in a correction or calculation), together with their source. Distinct from the Group 6 reference-material fields, which document accepted values for specific calibration/validation materials rather than universal physical constants. Record "None" if no citable, revisable physical constants feed into this procedure's data reduction. | Basic | Editable | Text (free) | e.g., 'ICDD PDF-4+ 2024 reference patterns' | Source: Core module | 2026-09-06 | (none) |  |  | N | N
[11 empty] | N | N
6. Quality Control & Uncertainty | [9 empty] | N | N | N
Additional Notes | Any procedure- or analysis-specific information not captured by a structured field anywhere in this TAPP — including anomalies, deviations from the registered procedure, instrument modifications, and supplementary context. Scope is the whole document, not Group 6: this is the last field of the TAPP and covers all six groups. Use sparingly; a structured field is preferred for anything that can be formally categorised. | Advanced | Advanced | Text (free) |  | Source: Core module | 2026-09-06 | (none) |  |  | N | N
[11 empty] | N | N
Procedure Author Description | Provenance of this TAPP definition: how the definition itself came to be, as distinct from the method it describes. Use it to state that the definition was transcribed from a published protocol, derived from existing metadata records rather than authored by the laboratory, or produced automatically and reviewed by a person. Optional -- a laboratory-authored TAPP needs nothing here. Recorded on schema:creator.schema:description. | Basic | Read-Only | Text (free) |  |  | 2026-10-07 | (none) |  |  | Draft generated by Claude (Anthropic) under human review, from analysis of ADA metadata records and the instrumentMetadata exports attached to them. Parameter values and tier assignments are derived, not authored by the laboratory. | Draft generated by Claude (Anthropic) under human review, from analysis of ADA metadata records and the instrumentMetadata exports attached to them. Parameter values and tier assignments are derived, not authored by the laboratory.
7. STEM Acquisition | [6 empty] | 2026-10-07 | (none)
Accelerating Voltage | Electron beam accelerating voltage. | Basic | Read-Only | Numeric (kV) | 200 kV | Seeded 2026-10-07 from the 25 UAZ instrumentMetadata exports (HyperSpy, .dm4). Constant across all 25. Not recorded by this laboratory: all 78 LBNL exports are .ser files carrying only image dimensions. | 2026-10-07 | (none) |  |  | 200 kV | N
Magnification | Nominal magnification. | N/A | Basic | Numeric | 2200 to 26000 (21 distinct) | Seeded 2026-10-07 from the 25 UAZ instrumentMetadata exports (HyperSpy, .dm4). Not recorded by this laboratory: all 78 LBNL exports are .ser files carrying only image dimensions. | 2026-10-07 | (none) |  |  | 14000 | N
Dwell Time per Probe Position | Dwell time per scanned probe position. | N/A | Basic | Numeric (s) | 2e-06 to 4e-06 s | Units inconsistent in source: one file records 8.11, which is not seconds. Seeded 2026-10-07 from the 25 UAZ instrumentMetadata exports (HyperSpy, .dm4). Not recorded by this laboratory: all 78 LBNL exports are .ser files carrying only image dimensions. | 2026-10-07 | (none) |  |  | 4e-06 s | N
Camera Length | Camera length. | N/A | Basic | Numeric (mm) | 25 to 37 mm | Recorded as 0.0 where not set. Seeded 2026-10-07 from the 25 UAZ instrumentMetadata exports (HyperSpy, .dm4). Not recorded by this laboratory: all 78 LBNL exports are .ser files carrying only image dimensions. | 2026-10-07 | (none) |  |  | 37 mm | N
Stage X Position | Stage X position. | N/A | Basic | Numeric | 23 distinct values | Seeded 2026-10-07 from the 25 UAZ instrumentMetadata exports (HyperSpy, .dm4). Not recorded by this laboratory: all 78 LBNL exports are .ser files carrying only image dimensions. | 2026-10-07 | (none) |  |  | -0.1375 | N
Stage Y Position | Stage Y position. | N/A | Basic | Numeric | 22 distinct values | Seeded 2026-10-07 from the 25 UAZ instrumentMetadata exports (HyperSpy, .dm4). Not recorded by this laboratory: all 78 LBNL exports are .ser files carrying only image dimensions. | 2026-10-07 | (none) |  |  | -0.1776 | N
Stage Tilt Alpha | Primary stage tilt. | N/A | Basic | Numeric (deg) | 0.0 to 0.7 deg | Seeded 2026-10-07 from the 25 UAZ instrumentMetadata exports (HyperSpy, .dm4). Not recorded by this laboratory: all 78 LBNL exports are .ser files carrying only image dimensions. | 2026-10-07 | (none) |  |  | 0.0 deg | N
Stage Tilt Beta | Secondary stage tilt. | N/A | Basic | Numeric (deg) | -2.9 to 0.1 deg | Seeded 2026-10-07 from the 25 UAZ instrumentMetadata exports (HyperSpy, .dm4). Not recorded by this laboratory: all 78 LBNL exports are .ser files carrying only image dimensions. | 2026-10-07 | (none) |  |  | 0.1 deg | N
Image Pixel Size | Physical size of one image pixel. | N/A | Basic | Numeric (nm) | 0.3696 nm | Recorded by BOTH laboratories (100% coverage) but in mixed units: m, nm and um all appear and must be normalised before comparison. | 2026-10-07 | (none) |  |  | 0.3696 nm | 2.2766e-10 m
Image Width | Image width in pixels. | N/A | Basic | Integer (QuantitativeValue) | 2048 (also 1024, 4096) | Split from a single Image Dimensions item 2026-10-07: the source states it as "2048 x 2048", but the record carries width and height as two properties, so one workbook item could not map to both. Recorded by both laboratories (100% coverage). | 2026-10-07 | (none) |  |  | 2048 | 2048
Image Height | Image height in pixels. | N/A | Basic | Integer (QuantitativeValue) | 2048 (also 1024, 4096) | Split from a single Image Dimensions item 2026-10-07; see Image Width. Recorded by both laboratories (100% coverage). | 2026-10-07 | (none) |  |  | 2048 | 2048

## Legends
Procedure-Level Tier | Basic / Advanced / N/A
Analysis-Level Tier | Read-Only / Editable / Basic / Advanced
Publication columns | one per laboratory instance; 'N' means not reported