## TAPP Register
Technique-Aligned Procedure Profile (TAPP) Planning Table ¦ Astromat ¦ Draft April 2026
Register of what EXISTS. Original columns are Ruolin's, verbatim; the last four are ours. Only 'TAPP key' needs authoring - the rest follow from it.
# | Thematic Group | Proposed TAPP Name | Description | Component Methods / Techniques from BDD List | TAPP key | Technique dir | TAPP table | Property Type | Data Format | Relevant to Astromat (Chemical Data)? | TAPP Priority (H/M/L) | Notes / Rationale | Route | Modules Composed | Status | Labs | Geochem profile
1 | Electron Beam Microanalysis | Electron Probe Microanalysis (EPMA) |  | Electron Microprobe Analysis (EMPA); EDS – see SEM/EMPA/TEM |  |  |  | Elemental composition (major/minor elements) | Tabular + Imagery | Yes – core | H | WDS is primary technique; EDS is subordinate detector. Sub-type field in TAPP: WDS ¦ EDS ¦ WDS+EDS. Draft TAPP already in development. | composition | Group1; ReportingCore | complete (v13) | Caltech (Chi Ma)
2 |  | Scanning Electron Microscopy (SEM / FIB-SEM) |  | SEM Image; SEM-EDS (point/map/image); SEM-EBSD (grain image); SEM-HR-CL; FIB-SEM; HR-CL – see SEM; EBSD – see SEM; EDS – see SEM | semTAPP | SEM | SEM_TAPP_v65.csv | Morphological; Elemental (EDS); Crystallographic (EBSD); Spectral (CL) | Imagery + Tabular + Spectral | Yes – EDS/CL sub-modes | H | One TAPP for SEM platform. FIB-SEM = instrument variant field. EDS, EBSD, CL are subordinate detector/mode fields, NOT separate TAPPs. DEFERRED: FIB-SEM ion-beam metadata scope (beam current, milling procedure, section geometry) to be reviewed during Phase 0 of SEM TAPP development — may require additional instrument-variant fields or a future standalone FIB-SEM TAPP. FIB-SEM has 177 records in ADA (8th most common). | composition | Group1; ReportingCore | complete (v10) | Caltech (Chi Ma), U of Hawaii (Hope Ishii) | built
3 |  | Transmission Electron Microscopy (TEM / STEM) |  | TEM Image; TEM Patterns Image; STEM Image; STEM-EELS (cube/tabular); STEM-EDS (cube/tabular/tomography); EELS – see TEM; EDS – see TEM | temTAPP | TEM | TEM_TAPP_v51.csv | Structural/morphological; Elemental (EDS); Spectral/bonding (EELS) | Imagery + Tabular + Spectral | Yes – EDS/EELS sub-modes | H | One TAPP. STEM = beam mode field (Focused/Scanning). EELS and EDS are detector sub-fields. Tomography = acquisition mode field. | composition | Group1; ReportingCore | complete (v13) | U of Hawaii (Hope Ishii) | built
4 |  | Atom Probe Tomography (APT) |  | Atom Probe Tomography (APT) |  |  |  | Elemental + isotopic composition (atomic scale) | Tabular + 3D imagery | Yes – core | M | Unique 3D atom-by-atom technique; requires its own TAPP. Not currently in most EPMA/SEM workflows but increasingly used in meteoritics.
5 | Mass Spectrometry – ICP | Solution Q-ICP-MS |  | Q-ICP-MS (Quadrupole ICP-MS); solution mode | solutionQicpmsTAPP | Solution-Q-ICPMS | Solution_Q-ICP-MS_TAPP_v82.csv | Elemental composition (trace/major) | Tabular | Yes – core | H | Separate TAPP from Solution SF-ICP-MS (see Row 5a). Single-quadrupole (Q) detector; unit mass resolution; trace/major elemental concentrations in digested/dissolved samples. Excludes: TQ-ICP-MS/MS (triple quadrupole; MS/MS-specific metadata too distinct), SF-ICP-MS, MC-ICP-MS, LA-coupled variants, and ICP-OES. CRC (collision/reaction cell) parameters — He KED, reactive gas DRC/CRC modes — are Q-specific and central to interference management strategy; no mode flag columns (single-mode technique). Architecture decision 2026-06-15: separate from SF because CRC fields would be dead-ends in an SF TAPP, and resolution mode fields would be trivial constants in a Q TAPP. LA-Q/SF-ICP-MS stays combined (CRC absent from all 13 assessed LA procedures). 4 seed papers confirmed (Solution Q-ICP-MS/ folder). | composition | Group1; ReportingCore | complete (v13) | Caltech (Francois Tissot), ASU (Ren Marquez) | built
5a |  | Solution SF-ICP-MS |  | HR-ICP-MS; single-collector sector-field ICP-MS (SF-ICP-MS); solution mode | solutionSficpmsTAPP | Solution-SF-ICPMS | Solution_SF-ICP-MS_TAPP_v78.csv | Elemental composition (trace/major) | Tabular | Yes – core | H | Separate TAPP from Solution Q-ICP-MS (see Row 5). Single-collector sector-field (SF) detector; selectable mass resolution (low ~300 / medium ~4000 / high ~10 000 m/Δm) resolves polyatomic interferences without CRC. Trace/major elemental concentrations in digested/dissolved samples. Excludes: Q-ICP-MS, TQ-ICP-MS/MS, MC-ICP-MS, LA-coupled variants, and ICP-OES. No mode flag columns (single-mode technique; mass resolution setting is an analyte-specific field value, not a separate mode). SF-specific fields include: mass resolution setting per analyte, SEM–Faraday detector cross-calibration. Architecture decision 2026-06-15 (see Row 5 notes). Seed papers TBD. | composition | Group1; ReportingCore | complete (v13) | Caltech (Francois Tissot), ASU (Ren Marquez) | built
6 |  | Multi-Collector ICP-MS (MC-ICP-MS) |  | MC-ICP-MS |  |  |  | Isotopic composition (high-precision radiogenic/stable) | Tabular | Yes – core | H | Separate from solution ICP-MS due to distinct measurement goals (isotope ratios vs. concentrations) and metadata (cup configuration, mass bias correction, reference standards). | composition | Group1; MCICPMS; ReportingCore | complete (v6) | Caltech (Francois Tissot), ASU (Ren Marquez)
7 |  | Laser Ablation Q-ICP-MS (LA-Q-ICP-MS) |  | LA-ICP-MS (quadrupole); LA-Q-ICP-MS | laQicpmsTAPP | LA-Q-ICPMS | LA-Q-ICP-MS_TAPP_v79.csv | Elemental + isotopic composition (in situ, spatially resolved) | Tabular | Yes – core | H | Quadrupole ICP-MS coupled to laser ablation for multi-element trace/major chemistry. Split from the combined LA-Q/SF-ICP-MS TAPP on 2026-08-11 so that the laser-ablation family matches the solution family, where Q and SF have always been separate TAPPs. Carries the collision/reaction-cell and signal-collection-mode fields, which have no sector-field counterpart. | composition | Group1; LaserAblation; ReportingCore | complete (v11) | ANU, Boston College (Juliet Ryan-Davis) | built
7a |  | Laser Ablation SF-ICP-MS (LA-SF-ICP-MS) |  | LA-SF-ICP-MS (single-collector sector-field) | laSficpmsTAPP | LA-SF-ICPMS | LA-SF-ICP-MS_TAPP_v76.csv | Elemental + isotopic composition (in situ, spatially resolved) | Tabular | Yes – core | H | Single-collector sector-field ICP-MS coupled to laser ablation. Split from the combined LA-Q/SF-ICP-MS TAPP on 2026-08-11. Carries the adjustable mass-resolution, E-scan range and triple-scanning fields, which have no quadrupole counterpart. | composition | Group1; LaserAblation; ReportingCore | complete (v11) | ANU, Boston College (Juliet Ryan-Davis) | built
7b |  | Laser Ablation MC-ICP-MS (LA-MC-ICP-MS) |  | LA-MC-ICP-MS | laMcicpmsTAPP | LA-MC-ICPMS | LA-MC-ICPMS_TAPP_v78.csv | Isotopic composition (high-precision, in situ, spatially resolved) | Tabular | Yes – isotopic | H | Multi-collector sector-field instrument coupled to laser ablation. Distinct from LA-Q/SF-ICP-MS due to multi-collector Faraday cup configuration, mass bias correction methods, and isotope-ratio-focused workflows (e.g., in situ Rb-Sr, Lu-Hf, U-Pb). Future TAPP; 1 seed paper identified (Zhang 2022, in situ Rb-Sr). PHASE 3 MATERIAL AVAILABLE: an 89-cell literature assessment column for Zhang et al. 2022 (At. Spectrosc. 43) — this TAPP's own Phase 0 seed paper — survives in 'Superseded TAPPs/2026-08-10/LA-ICP-MS (stale branch)/LA-ICPMS_TAPP_v13.csv'. This TAPP currently has zero literature assessment columns. Transfer is field-name-matched, not a column copy. | composition | Group1; LaserAblation; MCICPMS; ReportingCore | Phase 0 done; residue closed; Phase 2/3 outstanding (v7) |  | built
7c |  | Laser Ablation ICP-ToF-MS (LA-ICP-ToF-MS) |  | LA-ICP-ToF-MS |  |  |  | Elemental composition (simultaneous full-spectrum, in situ, spatially resolved) | Tabular + Imagery | Yes – core | M | Time-of-flight mass analyzer coupled to laser ablation. Unique capability: simultaneous acquisition of the full mass spectrum at each laser shot, enabling rapid multi-element imaging. Distinct metadata: no sequential mass scanning, spectral resolution, transient signal handling. Future TAPP; 1 seed paper identified (Chernonozhkin 2024, micrometeorite element mapping). PHASE 3 MATERIAL AVAILABLE: an 89-cell literature assessment column for Chernonozhkin et al. 2024 (JAAS 39, micrometeorites, LA-ICP-ToF-MS) survives in 'Superseded TAPPs/2026-08-10/LA-ICP-MS (stale branch)/LA-ICPMS_TAPP_v13.csv'.
7d |  | Laser Ablation ICP-TQ-MS (LA-ICP-TQ-MS) |  | LA-ICP-MS/MS; LA-ICP-TQ-MS |  |  |  | Elemental composition (REE and interference-prone analytes, in situ) | Tabular + Imagery | Yes – core | M | DEFERRED 2026-08-14 — TQ instruments now register under the Q-ICP-MS TAPP (ICP-MS Type = 'Triple quadrupole (ICP-MS/MS)', tandem operation in CRC Configuration); see precedents.md 'Triple-quadrupole instruments register under the Q-ICP-MS TAPP'. The residue test was run against the 89-cell Masuda 2024 column in the stale v13 branch: 62 cells with content, 6 field names absent from LA-Q-ICP-MS v21, 0 genuinely new concepts — all six are pre-rename spellings of existing Q fields. The 'key distinct metadata' hypothesised below was NOT tested by that paper, because Masuda ran KED mode, not MS/MS. TO SETTLE: find papers operating in MS/MS mode (mass-shift or on-mass product-ion chemistry), add them as literature columns to LA-Q / Solution Q, and re-measure the residue. Build nothing in advance. Original rationale retained below. ¦¦ Triple quadrupole (ICP-MS/MS) coupled to laser ablation. Key distinct metadata: reaction cell gas identity and flow, MS/MS operational mode (mass-shift vs. on-mass), reaction product ions monitored. Important for accurate REE and transition-metal determination with polyatomic interference removal. Future TAPP; 1 seed paper identified (Masuda 2024, CAI REE mapping with iCAP TQ in KED mode). PHASE 3 MATERIAL AVAILABLE: an 89-cell literature assessment column for Masuda et al. 2024 — the seed paper already named above — survives in 'Superseded TAPPs/2026-08-10/LA-ICP-MS (stale branch)/LA-ICPMS_TAPP_v13.csv'. |  |  | Deferred — decided by residue test, see Notes
8 | Mass Spectrometry – Noble Gas | Static Noble Gas & Nitrogen Mass Spectrometry (Noble Gas MS) |  | Noble Gas & Nitrogen Static MS (NG-NS-MS); Neutron Irradiation Noble Gas MS (NI-NGMS) |  |  |  | Isotopic composition (noble gases, N) | Tabular | Yes – isotopic | H | Core platform for cosmochemistry. NI-NGMS = irradiation pre-treatment field. One TAPP with pre-treatment variant. |  |  |  | Caltech (Ken Farley), IPGP (Guillaume Avice), ASU (Sujoy Mukhopadhyay, WashU (Rita Parai), U of Lorraine (Evelyn Furi), ETH (Henner Buseman)
10 |  | Resonance Ionization TOF Noble Gas MS (RI-TOF-NGMS) |  | RI-TOF-NGMS | ritofngmsTAPP | RITOFNGMS | draft | Isotopic composition (noble gas, presolar grains) | Tabular + Spectral | Yes – isotopic | M | Highly specialized; primarily used for presolar grain isotopic analysis. Separate TAPP from static noble gas MS due to distinct ionization and instrument metadata. |  |  |  | U of Manchester (Jamie Gilmour, Sarah Crowther) | none
11 | Mass Spectrometry – Organic/Molecular | GC-MS / GC-C-IRMS |  | GC-MS; GC-C-IRMS (combustion interface is instrument config, not separate method); GC-IRMS |  |  |  | Molecular/organic composition; compound-specific isotopes | Tabular + Spectral | Yes – organic | H | One TAPP. Combustion (GC-C) = instrument configuration field. Sub-type: GC-MS ¦ GC-C-IRMS ¦ GC-MS/MS.
12 |  | FTICR-MS |  | FTICR-MS (tabular + cube data products) | fticrmsTAPP | FTICRMS | draft | Molecular/organic composition (ultrahigh-resolution mass) | Tabular + Spectral (cube) | Yes – organic | H | Unique instrument with specific metadata (magnetic field strength, ionization source, resolving power). Data cube output is spatially resolved imaging MS. |  |  |  |  | none
13 |  | DESI-Orbitrap MS |  | DESI-Orbitrap MS |  |  |  | Molecular/organic composition (ambient ionization) | Tabular + Spectral | Yes – organic | M | Ambient ionization MS; distinct ionization metadata from ESI/MALDI. Orbitrap = mass analyzer type (metadata field). |  |  |  | Caltech (John Eiler)
14 |  | Liquid Chromatography–MS (LC / LC-MS) |  | Liquid Chromatography (LC); LC-MS Collection | lcmsTAPP | LCMS | draft | Molecular/organic composition | Tabular + Spectral | Yes – organic | M | One TAPP. LC-MS = LC with MS detection (detector type field). HPLC and UHPLC are sub-types. |  |  |  |  | none
15 |  | Microprobe Two-Step Laser MS (µL2MS) |  | Microprobe Two-Step Laser MS (µL2MS) | l2msTAPP | L2MS | draft | Molecular/organic composition (PAHs, in situ) | Tabular + Spectral | Yes – organic | M | Specialized in situ technique for aromatic organics. Desorption + ionization are two separate laser steps — key metadata distinction. |  |  |  |  | none
16 |  | Pyrolysis-GC-MS |  | NEW – not in BDD list |  |  |  | Molecular/organic composition (macromolecular matter) | Tabular + Spectral | Yes – organic | M | Common in meteoritics for insoluble organic matter (IOM) characterization. Py-GC-MS = thermal pyrolysis upstream of GC-MS. Could share TAPP with GC-MS via pyrolysis mode field.
17 | Mass Spectrometry – Isotope Ratio | Thermal Ionization Mass Spectrometry (TIMS) |  | TIMS | timsTAPP | TIMS | draft | Isotopic composition (high-precision radiogenic: Rb-Sr, Sm-Nd, U-Pb, Pb-Pb) | Tabular | Yes – isotopic | H | One TAPP. ID-TIMS (isotope dilution) should be a procedure sub-field; the instrument metadata is the same. |  |  |  | Caltech (Yankun Di), UC Davis (Qing-Zhu Yin) | built
18 |  | Accelerator Mass Spectrometry (AMS) |  | AMS | amsTAPP | AMS | draft | Isotopic composition (cosmogenic: ¹⁴C, ¹⁰Be, ²⁶Al, etc.) | Tabular | Yes – isotopic | H | Distinct instrument (particle accelerator); requires unique metadata (tandem voltage, target matrix, cathode prep). |  |  |  |  | none
19 |  | Elemental Analyzer – IRMS (EA-IRMS) |  | EA-IRMS; Elemental Analysis; FINESSE (Stepped Heating C & N Isotopes) | eairmsTAPP | EAIRMS | draft | Isotopic (bulk C, N, S, H) + elemental (C, H, N, S wt%) | Tabular | Yes – isotopic + elemental | H | One TAPP. FINESSE stepped-heating = sample introduction procedure field. EA = combustion front-end (instrument configuration). |  |  |  |  | none
20 |  | Laser Assisted Fluorination – IRMS (LAF) |  | LAF | lafTAPP | LAF | draft | Isotopic composition (bulk oxygen isotopes: δ¹⁷O, δ¹⁸O) | Tabular | Yes – isotopic | H | Specialized laser fluorination for oxygen isotopes. Distinct sample prep (BrF₅ or F₂ reagent) requires dedicated TAPP fields. |  |  |  |  | none
21 |  | Capillary Electrophoresis – MS (CE-MS) |  | CE-MS |  |  |  | Elemental/molecular (anions, cations, amino acids in solution) | Tabular | Yes – organic/elemental | M | Separation technique upstream of MS. Relevant for soluble organics and inorganic ions in meteorite extracts.
22 |  | Ion Chromatography (IC) |  | IC | icTAPP | IC | draft | Elemental/molecular (anions, cations in solution) | Tabular | Yes – elemental | M | Common for water-soluble species (Cl⁻, SO₄²⁻, NO₃⁻, Na⁺, etc.) in meteorite leachates. |  |  |  |  | none
23 | Mass Spectrometry – Surface/Imaging | Secondary Ion Mass Spectrometry (SIMS / NanoSIMS / SHRIMP) |  | SIMS (tabular); NanoSIMS (image/tabular/raw); SHRIMP |  |  |  | Elemental + isotopic composition (in situ, imaging) | Tabular + Imagery | Yes – core | H | Magnetic-sector SIMS family. One TAPP with instrument sub-type field: SIMS ¦ NanoSIMS ¦ SHRIMP ¦ IMS-xxxx. NanoSIMS adds ion-image metadata fields. |  |  |  | Caltech (Yunbin Guan), WashU (Noriko)
24 |  | Time-of-Flight SIMS (ToF-SIMS) |  | ToF-SIMS | tofsimsTAPP | ToFSIMS | draft | Elemental + molecular + isotopic (surface, imaging) | Tabular + Imagery + Spectral | Yes – surface/organic | M | Separate from magnetic-sector SIMS: ToF analyzer, molecular ion capability, and surface-sensitivity metadata differ significantly. |  |  |  |  | none
25 |  | Secondary Neutral Mass Spectrometry (SNMS) |  | SNMS |  |  |  | Elemental composition (surface, post-ionization) | Tabular | Yes – elemental | L | Less common than SIMS; post-ionization of sputtered neutrals. May share TAPP framework with ToF-SIMS.
27 |  | Fission Track Analysis |  | NEW – not in BDD list |  |  |  | Physical (track density) → age/thermal history | Tabular + Imagery | Marginal – physical method | L | Common thermochronology method. Track counting is physical but yields isotopic age. Consider inclusion for completeness. RETAINED as an instrument TAPP row: fission track by the external detector method has no separate instrument parent (it is microscope-based track counting), so unlike U-Pb, Ar-Ar or Re-Os it is not an instrument x system composition. It will still consume Module_Geochronology.
28 | Optical & Vibrational Spectroscopy | Raman Vibrational Spectroscopy |  | Raman (raw data); Raman Vibrational Spectroscopy |  |  |  | Spectral (mineralogy, molecular structure, organic matter) | Spectral + Imagery | Yes – mineralogical/organic | H | High priority for mineralogy and organic characterization. Point spectra and maps both covered by one TAPP. |  |  |  | Carnegie (Will Palfey)
29 |  | VNMIR Spectroscopy (Vis-NIR-MIR) |  | VNMIR (point data); FTIR (if standalone) |  |  |  | Spectral (mineralogy, organics, H₂O content) | Spectral | Yes – mineralogical/organic | H | One TAPP covering reflectance and transmission IR. Sub-type: reflectance ¦ transmission ¦ ATR. FTIR = instrument type field. |  |  |  | Carnegie (Will Palfey)
30 |  | Nanoscale Infrared Mapping (NanoIR) |  | NanoIR (background/map/point); Synchrotron-based IR (S-IR) | nanoirTAPP | NanoIR | draft | Spectral (molecular/mineralogical, nanoscale) | Spectral + Imagery | Yes – mineralogical/organic | M | One TAPP. Platform field: benchtop NanoIR (AFM-based) ¦ synchrotron IR (S-IR). Beam size and spatial resolution differ, but spectral metadata is the same. |  |  |  |  | none
31 |  | Nuclear Magnetic Resonance Spectroscopy (NMR / SS-NMR) |  | NMR; SS-NMR |  |  |  | Molecular/structural (bonding, functional groups, mineralogy) | Spectral | Yes – molecular/organic | M | One TAPP. Mode field: solution NMR ¦ solid-state NMR (SS-NMR). SS-NMR is particularly relevant for IOM and clays.
32 |  | X-ray Absorption Near Edge Structure (XANES) |  | XANES (hyperspectral image stack) | xanesTAPP | XANES | draft | Spectral (elemental oxidation state, bonding environment) | Spectral + Imagery | Yes – chemical speciation | H | Synchrotron-based. Provides oxidation state information critical for redox-sensitive elements (Fe, S, Cr). Hyperspectral data cube requires specific metadata. |  |  |  | Caltech (Shane Houchin) | none
33 |  | Mössbauer Spectroscopy |  | NEW – not in BDD list |  |  |  | Spectral (Fe oxidation state, mineralogy) | Spectral | Yes – chemical speciation | H | Very common in meteoritics and Mars analog studies. Essential for Fe²⁺/Fe³⁺ ratios. Should be included.
34 |  | X-ray Photoelectron Spectroscopy (XPS) |  | XPS |  |  |  | Elemental + spectral (surface composition, oxidation state, bonding) | Tabular + Spectral | Yes – surface chemistry | M | Surface-sensitive (top ~5–10 nm). Provides elemental and chemical-state information. Separate from bulk XRF/EPMA.
35 |  | Cathodoluminescence Spectroscopy (CL – standalone) |  | NEW – not in BDD list (standalone bench-top CL) |  |  |  | Spectral (luminescence, defect structure, mineralogy) | Spectral + Imagery | Yes – mineralogical | L | Standalone CL (e.g., Gatan Mono-CL) distinct from SEM-attached HR-CL. Can share TAPP with SEM if platform field distinguishes them.
36 | X-ray Methods | X-ray Diffraction (XRD) |  | XRD (tabular) | xrdTAPP | XRD | draft | Physical (mineralogy, crystal structure, phase identification) | Tabular + Spectral | Yes – mineralogical | H | Essential for phase identification and quantification. Sub-type: powder XRD ¦ single-crystal XRD ¦ micro-XRD. |  |  |  |  | none
37 |  | X-ray Fluorescence Spectroscopy (XRF) |  | XRF; Synchrotron XRF (S-XRF) |  |  |  | Elemental composition (major/trace, bulk or spatially resolved) | Tabular + Imagery | Yes – core | H | One TAPP. Platform field: benchtop ¦ handheld ¦ synchrotron (S-XRF). S-XRF adds spatial resolution and beam metadata.
38 |  | X-ray Computed Tomography (XCT) |  | XCT (image collection); Micro-CT / Nano-CT | labxctTAPP | XCT | Lab-XCT_TAPP_v39.csv | Physical (3D internal structure, porosity, density distribution) | Imagery | Marginal – physical/structural | H | Critical for 3D texture and porosity. Development split: Lab-XCT (industrial/geological microfocus CT) TAPP in progress (v5). SR-XCT and NCT to be developed separately. Preclinical/medical CT classification (e.g., GE eXplore) deferred for future review. | composition | Group1; ReportingCore | complete (Lab-XCT v10) |  | built
Synchrotron X-ray Computed Tomography
Muon X-ray Emmision Spectroscopy
|  | Neutron + X-ray Computed Tomography (NCT+XCT, Simultaneous) |  | Neutron CT; X-ray CT (simultaneous dual-modality acquisition) |  |  |  | Physical (3D internal structure, density distribution, elemental/isotopic contrast) | Imagery (dual-modality co-registered 3D volumes) | Marginal – physical/structural | L | TENTATIVE — status to be revisited based on community feedback and technique availability. Covers simultaneous NCT+XCT acquisition on dual-modality platforms (e.g., NIST-NeXT NXCT). Distinct from sequential or separate NCT and Lab-XCT procedures: simultaneous acquisition produces intrinsically co-registered volumes in a single session, making two-TAPP registration with Coupled fields architecturally awkward. A combined TAPP would cover XCT-specific fields, NCT-specific fields (neutron source, wavelength, neutron detector), and coupling-specific fields (co-registration geometry). Not developed until standalone Lab-XCT and NCT TAPPs are finalized; lower priority given narrow current facility availability. |  |  |  | NIST (NIST-NeXT NXCT)
39 | Microscopy & Imaging | Visible Light Microscopy (VLM) |  | VLM (image) | vlmTAPP | VLM | draft | Physical/morphological (optical texture, color, grain size) | Imagery | Marginal – physical | M | Standard petrographic microscopy. Transmitted + reflected light modes as sub-type field. DEFERRED: 'VLMBasemap' appears as a separate ADA identifier (15 records). Examine ADA records before deciding whether this is a data sub-type of VLM or SLS, or a distinct technique requiring its own planning table row. |  |  |  |  | none
40 |  | Fluorescence Microscopy (UVFM) |  | UVFM (image) | uvfmTAPP | UVFM | draft | Physical/optical (fluorescence response of organics/minerals) | Imagery | Marginal – physical/optical | M | UV-excited fluorescence; relevant for organics and fluid inclusions. Could share TAPP with VLM (illumination mode field). |  |  |  |  | none
41 |  | Structured Light Scanning (SLS) / 3D Shape |  | SLS (individual scan collection); SLS Shape Model; Basemap; AIVA | slsTAPP | SLS | draft | Physical (3D shape, surface topography, morphology) | Imagery (3D) | No – physical/geometric | M | 3D surface morphology. Relevant for sample curation and spatial context, but not chemical data per se. |  |  |  |  | none
42 |  | Quantitative Reflective Imaging System (QRIS) |  | QRIS (calibrated + raw) | qrisTAPP | QRIS | draft | Physical/optical (calibrated reflectance, albedo) | Imagery + Tabular | Marginal – optical | M | Calibrated photometric imaging. Relevant for sample characterization and reflectance spectroscopy context. |  |  |  |  | none
43 |  | Lock-in Thermography (LIT) |  | LIT (collection + image) | litTAPP | LIT | draft | Physical (subsurface thermal structure, defect mapping) | Imagery | No – physical | H | Thermal imaging technique; not chemical. Lower priority for Astromat. |  |  |  |  | none
44 |  | Confocal Laser Scanning Microscopy (CLSM) |  | NEW – not in BDD list |  |  |  | Physical/morphological (3D surface topography, fluorescence) | Imagery | Marginal | L | Useful for grain surface texture; fluorescence mode overlaps with UVFM.
45 | Physical Properties | Particle Size Frequency Distribution (PSFD) |  | PSFD | psfdTAPP | PSFD | draft | Physical (grain size distribution) | Tabular + Imagery | Marginal – physical | M | Grain size analysis by laser diffraction, sieving, or image analysis. Method sub-type field needed. |  |  |  |  | none
46 |  | Gas Pycnometry (GPYC) |  | GPYC (processed + raw) | gpycTAPP | GPYC | draft | Physical (bulk/grain density, porosity) | Tabular | No – physical | M | He pycnometry for true grain density. Key for porosity calculations in Ryugu/Bennu samples. |  |  |  |  | none
47 |  | Seismic Velocities & Rock Ultrasonic Elastic Constants (SV-RUEC) |  | SV-RUEC | svruecTAPP | SVRUEC | draft | Physical (compressional/shear wave velocity, elastic moduli) | Tabular | No – physical | L | Ultrasonic pulse transmission; primarily mechanical characterization. |  |  |  |  | none
48 |  | Nanoindentation & Microindentation (NI-MI) |  | NI-MI | niMiTAPP | NI-MI | draft | Physical (hardness, elastic modulus at micro/nanoscale) | Tabular | No – physical | L | Mechanical property measurement. Relevant for grain-scale strength of astromaterials. |  |  |  |  | built
49 |  | Angle of Repose Measurement (ARM) |  | ARM |  |  |  | Physical (bulk granular flow behavior) | Tabular | No – physical | L | Relevant for regolith behavior (e.g., Ryugu, Bennu), not chemical composition.
50 |  | Compression Test (COMPT) |  | COMPT |  |  |  | Physical (compressive strength, mechanical failure) | Tabular | No – physical | L | Mechanical testing; not chemical.
51 |  | Direct Shear Strength Measurement (DSSM) |  | DSSM | dssmTAPP | DSSM | draft | Physical (shear strength, geotechnical properties) | Tabular | No – physical | L | Geotechnical; not chemical. |  |  |  |  | built
52 |  | Atomic Force Microscopy (AFM) |  | PCD-AFM (Particle Cohesion Determination); SThM-AFM (Scanning Thermal Microscopy); AFM (topography – standalone) |  |  |  | Physical (surface adhesion/cohesion; nanoscale topography; local thermal properties) | Tabular + Imagery | No – physical | L | AFM is the technique; PCD-AFM and SThM-AFM are two methods (applications of AFM to acquire different data types). One TAPP with mode flags: Topography ¦ Thermal (SThM) ¦ Cohesion (PCD). SThM-AFM has 377 records in ADA (5th most common — likely Hayabusa2-specific); priority and scope to be revisited if JAXA data submissions continue.
53 |  | Synchrotron X-ray Fluorescence (S-XRF) Mapping |  | S-XRF | sXrfTAPP | S-XRF | draft | Elemental composition (spatially resolved, trace) | Tabular + Imagery | Yes – elemental | H | Already captured under XRF TAPP above (platform field). Listed separately here only for cross-reference. |  |  |  |  | built
54 | Thermal & Calorimetric | Differential Scanning Calorimetry (DSC) |  | DSC | dscTAPP | DSC | draft | Physical/thermal (phase transitions, heat capacity, enthalpy) | Tabular + Spectral | No – physical/thermal | L | Thermal analysis; relevant for hydrated mineral characterization but not direct chemical composition. |  |  |  |  | none
55 |  | Thermogravimetric Analysis (TGA) |  | TGA |  |  |  | Physical/chemical (mass loss vs. temperature, volatile content) | Tabular | Yes – volatile content | M | TGA can quantify H₂O, CO₂, S content through weight loss steps. Borderline relevance for Astromat.
56 |  | Mini Cryogen-Free Measurement System / Thermal Conductivity (mCFMS / SCBTCA) |  | mCFMS; SCBTCA |  |  |  | Physical (thermal conductivity) | Tabular | No – physical/thermal | L | Thermal conductivity measurement; not chemical. One TAPP covering both instrument variants.
57 |  | Capacitance Dilatometry (CAPD) |  | CAPD | capdTAPP | CAPD | draft | Physical (dimensional change, thermal expansion coefficient) | Tabular | No – physical | L | Dimensional/thermal; not chemical composition. |  |  |  |  | built
59 | NEW – Not in BDD List | Instrumental Neutron Activation Analysis (INAA) |  | NEW |  |  |  | Elemental composition (bulk, non-destructive, trace/major) | Tabular | Yes – core | H | Very common in meteoritics (especially chondrite bulk chemistry). Non-destructive; large sample archive of INAA data exists. High priority for Astromat inclusion. |  |  |  | Rice (Bidong Zhang)
61 |  | Wet Chemistry / Gravimetric Analysis |  | NEW |  |  |  | Elemental (FeO by titration, H₂O by Karl Fischer, etc.) | Tabular | Yes – elemental | M | Classical methods still used for specific analytes (FeO, total H₂O, CO₂). Metadata profile would be simple but important for legacy data integration.
62 |  | Prompt Gamma Neutron Activation Analysis (PGNAA) |  | NEW |  |  |  | Elemental composition (bulk, in situ capable) | Tabular | Yes – elemental | L | Less common than INAA but used for H, B, Cd, Sm content. Consider bundling with INAA in one TAPP (activation mode field).
63 |  | High-Performance Liquid Chromatography (HPLC) |  | NEW |  |  |  | Molecular (amino acids, PAHs, sugars – separated by polarity) | Tabular | Yes – organic | M | Distinct from general LC-MS: often used without MS detection (UV/fluorescence detector). Separate TAPP or sub-type of LC TAPP.
TDM | Physical Properties | Temperature-Dependent Magnetization (TDM) |  | TDM | tdmTAPP | TDM | draft | Physical/magnetic (magnetization vs. temperature → magnetic mineral identification) | Tabular | Marginal – physical/magnetic | L | Measures sample magnetization as a function of temperature to identify magnetic mineral phases (magnetite, pyrrhotite) via Curie/Néel temperature inflections. Used in meteoritics for magnetic mineralogy characterization. Identified from ADA stats (1 record); not previously in planning table. No TAPP developed. Low priority given minimal current ADA representation. |  |  |  |  | built
— |  | (exists, no planning row) AIVA |  |  | aivaTAPP | AIVA | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none
— |  | (exists, no planning row) ARGT |  |  | argtTAPP | ARGT | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none
— |  | (exists, no planning row) CPD |  |  | cpdTAPP | CPD | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) EMPA |  |  | empaTAPP | EMPA | EPMA_TAPP_v68.csv | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) FINESSE |  |  | finesseTAPP | FINESSE | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) GC-C-IRMS |  |  | gcCIrmsTAPP | GC-C-IRMS | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) GCMS |  |  | gcmsTAPP | GCMS | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none
— |  | (exists, no planning row) IC-MS |  |  | icMsTAPP | IC-MS | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) ICPOES |  |  | icpoesTAPP | ICPOES | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none
— |  | (exists, no planning row) LA-MC-ICPMS-UPb |  |  | laMcicpmsUPbTAPP | LA-MC-ICPMS-UPb | LA-MC-ICPMS_UPb_TAPP_v77.csv | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) LA-Q-ICPMS-UPb |  |  | laQicpmsUPbTAPP | LA-Q-ICPMS-UPb | LA-Q-ICP-MS_UPb_TAPP_v79.csv | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) LA-SF-ICPMS-UPb |  |  | laSficpmsUPbTAPP | LA-SF-ICPMS-UPb | LA-SF-ICP-MS_UPb_TAPP_v77.csv | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) NGNSMS |  |  | ngnsmsTAPP | NGNSMS | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none
— |  | (exists, no planning row) NanoSIMS |  |  | nanosimsTAPP | NanoSIMS | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none
— |  | (exists, no planning row) PCD-AFM |  |  | pcdAfmTAPP | PCD-AFM | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) RAMAN |  |  | ramanTAPP | RAMAN | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none
— |  | (exists, no planning row) SEM-CL |  |  | semClTAPP | SEM-CL | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) SEM-Composition |  |  | semCompositionTAPP | SEM-Composition | SEM_Composition_TAPP_v64.csv | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) SEM-FIBSEM |  |  | semFibsemTAPP | SEM-FIBSEM | SEM_FIBSEM_TAPP_v32.csv | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) SEM-Imaging |  |  | semImagingTAPP | SEM-Imaging | SEM_Imaging_TAPP_v31.csv | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) SIMS |  |  | simsTAPP | SIMS | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none
— |  | (exists, no planning row) STHM-AFM |  |  | sthmAfmTAPP | STHM-AFM | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) Solution-MC-ICPMS |  |  | solutionMcicpmsTAPP | Solution-MC-ICPMS | Solution_MC-ICP-MS_TAPP_v79.csv | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | built
— |  | (exists, no planning row) VNMIR |  |  | vnmirTAPP | VNMIR | draft | [7 empty] | IN REPO, NOT IN PLANNING TABLE |  | none